## Method
Attribute 1 | Attribute 2 | site | date | classification | Invalid classification 1 | Invalid classification 2 | Attribute 8 lot number | Attribute 9 | Attribute 10 | Attribute 11 | Attribute 12 | data 1 | data 2 | data 3 | data 4 | data 6 | data 7 | data 8 | date_2 | data 9
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-08-17 | Valid |  |  | LOT1 | NOTE_1 | A1 | I1 | 5666 | 1 | 6912918 | 77.6 | 27.2 | 17.2 | 5.2 | N1 | 2021-08-25
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-08-17 | Valid |  |  | LOT1 | NOTE_1 | A1 | I1 | 5666 | 2 | 6926342 | 77.5 | 27.2 | 17.4 | 5.1 | N1 | 2021-08-25
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-08-17 | Valid |  |  | LOT1 | NOTE_1 | A1 | I1 | 5666 | 3 | 6955946 | 77.4 | 27.2 | 17.5 | 5.1 | N1 | 2021-08-25
BMS-xxxx8 | MTD-XXXX1-2 | SITE 1 | 2021-08-17 | Valid |  |  | LOT1 | NOTE_2 | A2 | I1 | 5666 | 1 | 6723616 | 78.1 | 27.2 | 17.2 | 4.8
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-08-17 | Valid |  |  | LOT1 | NOTE_2 | A2 | I1 | 5666 | 2 | 6759198 | 78.3 | 27.2 | 17 | 4.8
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-08-17 | Valid |  |  | LOT1 | NOTE_2 | A2 | I1 | 5666 | 3 | 6817732 | 78.6 | 27.2 | 16.6 | 4.8
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-10-28 | Valid |  |  | LOT1 | NOTE_3 | A2 | I2 | 5666 | 1 | 6728896 | 77.7 | 26.2 | 17.4 | 4.9 | N2 | 2021-11-05
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-10-28 | Valid |  |  | LOT1 | NOTE_3 | A2 | I2 | 5666 | 2 | 6736364 | 77.9 | 26.2 | 17.2 | 4.9 | N2 | 2021-11-05
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-10-28 | Valid |  |  | LOT1 | NOTE_3 | A2 | I2 | 5666 | 3 | 6759859 | 78.2 | 26.2 | 16.9 | 4.8 | N2 | 2021-11-05
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-02-04 | Valid |  |  | LOT1 | NOTE_4 | A3 | I3 | 2101140 | 1 | 6627800 | 79.4751 | 26.2 | 15.628 | 4.897 | N2 | 2022-02-28
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-02-04 | Valid |  |  | LOT1 | NOTE_4 | A3 | I3 | 2101140 | 2 | 6674791 | 79.5231 | 26.1 | 15.6205 | 4.8563 | N2 | 2022-02-28
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-02-04 | Valid |  |  | LOT1 | NOTE_4 | A3 | I3 | 2101140 | 3 | 6755083 | 79.631 | 26.2 | 15.7097 | 4.6593 | N2 | 2022-02-28
BMS-xxxx9 | MTD-XXXX1-2 | SITE 1 | 2021-02-04 | Valid |  |  | LOT1 | NOTE_4 | A3 | I3 | 2101140 | 4 | 6773868 | 79.7161 | 26.2 | 15.6921 | 4.5917 | N2 | 2022-02-28

## Data_validation (hidden)
SEC Invalid Classification | CGE-nr Invalid Classification | CGE-r Invalid Classification | iCE Invalid Classification | CEX Invalid Classification | PS80 Classification
SS - Plate count | SS -Blank not comparable | SS -Blank not comparable | SS -Blank not comparable | SS - Plate count | SS - Peaks >15% in blank
SS - Resolution (GFS) | SS - RS Profile not comparable | SS - RS Profile not comparable | SS - pI markers | SS - Resolution (GFS) | SS - Bracketing Inj failure
SS - Monomer RSD RT | SS - IS migration time | SS - IS migration time | SS - Profile shifted outside specified window | SS - RT RSD (n=SS specific) | SS - R2
SS - Monomer RSD Area (n=SS specific) | SS - IgG RRT | SS - IgG RRT | SS - RS Profile not comparable | SS - Peak tailing | SS - Peak area RSD ss inj (n=ss specific)
SS - Monomer Percentage (n=SS specific) | SS - %Purity RSD | SS - HC RRT | SS - % Area RSD for main peak (n=SS specific) | SS - Peak area RSD (n=SS specific) | SS - Peak area for ALL SS inj (brackets)
SS - HMW Percentage | SS - CPA RSD | SS - %Purity RSD | SS - % Area Acidic group | SS - % Area Acidic group | SS - Retention time
SS - LMW Percentage | SS - Baseline spike | SS - CPA RSD | SS -%Area Basic group | SS -%Area Basic group | SS - Plate count
SS - Peak tailing | SS - Baseline drop | SS - Baseline spike | Equipment - Instrument failure | Equipment - Instrument failure | Equipment - Instrument failure
Equipment - Instrument failure | Equipment - Instrument failure | SS - Baseline drop | Equipment - Software failure | Equipment - Software failure | Equipment - Software failure
Equipment - Software failure | Equipment - Software failure | Equipment - Instrument failure | Equipment - Broken needle | External - Power failure | External - Power failure
External - Power failure | Equipment - Broken capillary | Equipment - Software failure | External - Power failure | Human - Sample prep | Human - Sample prep
Materials - Reagent failure | External - Power failure | Equipment - Broken capillary | Human - Sample prep | Human - Reagent prep | Human - Reagent prep
Human - Sample prep | Human - Sample prep | External - Power failure | Human - Reagent prep | Human - Instrument setup | Human - Instrument setup
Human - Reagent prep | Human-Sample prep -Low IS peak | Human - Sample prep | Human - Instrument setup | Other - Use comments column | Other - Use comments column
Human - Instrument setup | Human - Reagent prep | Human-Sample prep -Low IS peak | Other - Use comments column | N/A | N/A
Other - Use comments column | Human - Instrument setup | Human - Reagent prep | N/A
N/A | Other - Use comments column | Human - Instrument setup
| N/A | Other - Use comments column
N/A